Making use of VVMs

Flexible vaccine management for polio NIDs, SNIDs and Mop-ups

# Table of contents

1	Introduction	3

2	The ‘traditional’ cold chain for campaigns	3

3	The VVM	4

3.1	Important VVM reminders	5

4	The fast chain	5

4.1	What is it?	5

4.2	What is the advantage?	6

5	When is a flexible cold chain required?	6

6	Planning issues for a flexible cold chain	7

7	Hints	8

7.1	Teaching and believing VVM	8

7.2	Melting icepacks	9

7.3	Vials at the end of the campaign or session	9

7.4	What to do in case of shortages/surpluses	10

7.4.1	Shortage of storage capacity for OPV at  –20°C	10

7.4.2	Shortage of vaccine carriers:	10

7.4.3	Shortage of cold boxes	10

7.4.4	Shortage of icepacks:	10

7.4.5	Shortage of freezing capacity	10

7.4.6	Shortage/surplus of vaccine	10

VVM Fact sheet	11

# Introduction

All countries where polio transmission is not yet interrupted have one or several of the following characteristics in common:

a large proportion of difficult to reach populations, either due to geographic inaccessibility, or because of the persistence of pockets with limited access to health services (high population density, nomads, deprived groups, etc.);

destroyed or unreliable transport infrastructure;

insufficient and/or inoperable cold chain equipment;

lack sufficiently trained technical staff;

insecurity due to ongoing conflict, mines, etc..

The heat sensitivity of Oral Polio Vaccine (OPV) and the ensuing necessity to keep the vaccine cool, is one of the major complicating factors for the implementation of polio campaigns under these conditions.

However, because of the short duration of campaigns for polio eradication and the presence of the Vaccine Vial Monitor (VVM, see chapter 3) on the OPV vials, it is now possible to implement a more flexible cold chain strategy than could previously be envisaged.

Although this strategy is especially appropriate for countries in conflict, recent conflict, or with insufficient infrastructure, it should not be limited to them. Any National Immunization Days (NIDs), even those conducted amongst easily accessible populations, can increase its effectiveness by adopting a more flexible approach.

These guideline are designed specifically for OPV use during NIDs/SNIDs and mop-ups only. A full-scale cold chain is necessary if measles is added to NIDs, since this vaccine does not have a VVM and degrades rapidly in ambient temperatures after reconstitution.

# The ‘traditional’ cold chain for campaigns

The traditional cold chain employed during campaigns uses predominantly refrigerators and freezers for the storage of vaccines and cold boxes and vaccine carriers for their transport. The presence of ice is ensured at all times during transport and at the vaccination site and is a prerequisite for the continuation of the work of the teams.

The heat sensitivity of the vaccines and the impossibility to monitor heat exposure justified this cold chain model.

However, this model does have a number of disadvantages:

It makes it difficult to reach populations with limited access, because of:

the cold life of the equipment in relation to the distance to be travelled

the – seasonal - lack of accessibility of these populations due to the nature of the terrain

the weight and volume of equipment, which increase with travelling time and distance

the amount of equipment required to cover remote and/or dense populations

lack of flexibility due to the inherent necessity of requiring ice all the time at every stage.

A cold chain designed specifically for NIDs is relatively costly:

a cold chain designed for NIDs may be badly adapted to routine services, because the latter are less demanding in terms of freezing capacity and may require different types of equipment all together (less compression appliances, generators, etc.);

equipment will run around the clock to satisfy the need for icepacks to keep vaccines cool

Traditional cold chain management has a top-down approach leaving little room for creative problem solving by health staff: in the traditional cold chain no ice means no immunization.

# The VVM

Oral polio vaccine is the most heat sensitive of all EPI vaccines. Storage and transport have to comply with good cold chain practices. However, cumulative heat exposure can now be monitored with the help of the Vaccine Vial Monitor (VVM)(, which can be found on all OPV supplied by UNICEF since 1997.

A heat sensitive square within a circle (figure 2) changes colour under the combined influence of heat and time. If after exposure to heat for a certain amount of time, the square reaches the same colour, or becomes darker than the circle, the vial should be discarded.

# Figure 2: the VVM

OPV, supplied by WHO accredited manufacturers, retains satisfactory potency for at least 48 hours at an ambient temperature of 37°C. The VVM reaches the point where OPV should be discarded before that.

At lower temperatures the loss of potency is considerably slowed down and the time it takes the VVM to reach the discard point increases subsequently.

Table 1 gives the WHO/UNICEF specification of VVMs for OPV. It shows that, for example, at 25°C continuous ambient temperature the VVM will reach the discard point only after 7 days.

# Table 1: VVM reaction rate for OPV(

| Continuous ambient temperature | Number of days before OPV VVM will reach the discard point |
| --- | --- |
| + 37°C | 1.5 - 2 Days |
| + 25°C | 7 Days |
| + 4°C | 180 Days (6 months) |
| - 20°C | 2 years |

The VVM allows the user to see at any time if OPV can still be used in spite of possible cold chain interruptions. If necessary, health staff and management can then take the required corrective measures.

Besides this important corrective management based on VVM monitoring, it is feasible and justifiable to use the VVM to plan a more flexible, less stringent and cheaper cold chain, which is of particular importance for NIDs.

OPV can be safely used beyond the cold chain until the VVM reaches the discard point. The length of time will depend on ambient temperatures and the quality of the cold chain till that point.

# With the VVM, the absence of ice is not a reason to interrupt immunization

The advantages of the use of VVMs during NIDs are:

teams can go further in time as well as geographically, due to less bulky equipment and decreased dependence on re-supply of ice;

difficult access and weak cold chain cease to be reasons not to immunize population groups usually missed during NIDs and routine services;

because fewer icepacks are required, freezing can be faster and with less equipment

cold chain costs can decrease due to these factors

health worker and stock manager can decide which vials to use first or in nearby areas with good cold chain on the basis of VVM status

reduction of wastage. With the help of the VVM several countries have abandoned the policy of discarding OPV vials at the end of a session or in case of cold chain failure. This has led to important reduction in wastage from a previous 25% to 10% or lower. Experience in many countries now shows that few VVMs reach the discard point during the campaigns.

Pro active management should lead to a tailor made cold chain, combining VVM and equipment specifications on the one hand with excellent micro planning and sensitised health workers on the other. This as opposed to the traditional top-bottom and “ice everywhere” approach.

## Important VVM reminders

The VVM gives only information about the vial to which it is attached. It can not be used as indicator of heat exposure to other vaccines, because the cold chain history of the latter may be very different.

The expiry date of a vial has priority over the VVM. If the expiry date is reached, the vial should be discarded even if the VVM suggests the vial can still be used.

# The better the overall cold chain, the more teams can benefit from the VVM during the NIDs

# The fast chain

## What is it?

The fast chain is a cold chain strategy that seeks to increase the effectiveness of campaigns by a reduction of the dependence on cold chain equipment through pro-active management and short supply lines.

The number of refrigerators and freezers required for intermediate storage is kept to a strict minimum through the intense use of cold boxes as secondary distribution points after vaccines leave the central/regional stores.

Although the fast chain was already applied before vaccine vials had VVMs, the combination of both increases even further the possibilities for a flexible cold chain during NIDs.

## What is the advantage?

The elements described above reduce dependence on refrigerating and freezing systems at peripheral level.

The fast chain, in combination with the VVM, has the following advantages:

difficult to access populations can be reached without installing additional equipment at peripheral level;

installation of a specific NIDs cold chain with its excessive need of ice and probable incompatibility with the routine programme requirements, can be prevented;

the cold chain can be cheaper, although this may be offset by the increased need for freezing equipment at central level.

# With the fast chain and the VVM, population groups that are usually missed during NIDs, can be immunized.

# When is a flexible cold chain required?

Clearly, by reducing the dependence on cold chain equipment and increasing the flexibility of the teams, the fast chain and the use of VVMs are ideal for any country or region where the infrastructure makes it difficult to implement the traditional cold chain.

However, there is no reason to limit either of them to these difficult conditions. On the contrary, they should really be seen as the first step of the cold chain of the future, which will have the following characteristics:

Strengthening of central and regional stores

VVMs on all vaccines

Increased flexibility at peripheral levels

# The fast cold chain and the VVM can be used in any country implementing NIDs with OPV only(.

Even for a country with a well-established cold chain, there is no need to stretch icepack freezing and storage capacity to the maximum, or provide teams with materials, which are too heavy, thus limiting their flexibility.

# Figure  1: The typical set for a flexible cold chain

# Planning issues for a flexible cold chain

When planning for a flexible NIDs cold chain the following key elements have to be considered:

# It is the task of management at central and regional level to determine the length of time OPV can be safely taken beyond the cold chain. This must be based on:

The duration of the campaign. 
Inversely, the duration may be adapted to achieve an optimal cold chain strategy.

The quality of the cold chain till that point. If central and regional storage and transport conditions are sub-standard, the VVM will start changing colour before the actual campaign.

Ambient temperatures. The highest temperature for the country should normally be taken. To prevent possible confusion, a lower temperature should only be taken if it refers to a region where planning and implementation are clearly separate from the other regions.

The VVM specification (see table 1), respecting a good safety margin

Cold life( of the type of vaccine carriers and cold boxes used in the country/region. The cold life of the equipment decreases with the decrease of the number of icepacks.

Options 1: the cold life of the cold box should cover supply, duration of campaign and the return of left over vaccines to the store.

Option 2: the cold life only needs to cover supply, because either vaccine is not brought back or icepacks can be re-supplied.

# OPV can be safely used beyond the cold chain until the VVM reaches the discard point.

# Once the general context is defined, the equipment and number of icepacks for the teams must be determined at district level through rigorous micro planning (see annex I for an example of a cold chain capacity calculation).

# Vaccines should be kept in central/regional stores as long as possible before the NIDs/SNIDs/Mop-up.

# Table  2: Example how to adapt the amount of equipment to the ambient temperatures

| Length of time away from the centre, without re-supply of icepacks | Equipment (ambient temperatures 25-35°C) | Equipment (ambient temperatures > 35°C) |
| --- | --- | --- |
| < 24 hours | each team 1 carrier without icepacks* | each team 1 carrier with 1-2 icepacks |
| 24 – 72 hours | each team 1 carrier with all its icepacks | each team 2 carriers: 1 with vaccine and 1 with extra icepacks |
| 4 – 6 days | 1 carrier per team and 1cold box for each 4 teams | 1 carrier per team and 1 cold box for each 4 teams |

* Managers may decide to give 1 icepack for the ease of mind of the teams

# Because of the limited cold life of the cold boxes, transport to regions where the fast chain is applied, needs to take place at the latest possible time before the beginning of the campaign and requires therefore very rigorous planning.

# Cold boxes can be used to transport icepacks and vaccines for a number of teams to a secondary distribution point (see figure 1).

# Freezing the correct quantity of icepacks may have to start up to 8 days before the campaign. If generators are used, they will have to run for 24 hours a day to achieve satisfactory freezing.

# Hints

## Teaching and believing VVM

To gain confidence in VVM, EPI managers should not hesitate to test for themselves the extent to which OPV can safely be taken out of the cold chain (see figure 3).

# The proof of the pudding is the eating: test VVMs yourself !!

When health workers are trained in the use of the VVM it is strongly recommended to bring VVM samples to show during the workshop that OPV can be taken out of the cold chain for a certain length of time. Only a practical demonstration is convincing.

The teams must be clearly instructed to keep vaccines cool at all time, monitor the VVM and continue immunizing until the VVM has reached the discard point, or until the end of the campaign.

Teams must understand they can use their own imagination to solve problems and overcome obstacles in reaching all children in their catchment area. This is quite different from the traditional cold chain approach and convincing trainers are crucial to get the message across.

# Figure  3: Testing VVM in the field

## Melting icepacks

Teams may be confronted with melting icepacks before completion of the campaign.  However, teams must continue immunizing, until:

they have finished the work, or

the VVM has reached the discard point, whichever is shorter.

Teams need to be told to cool the vaccines by whatever means at their disposal:

replace the lid immediately after removal of a vial

wrap vials and/or the vaccine carrier in a wet cloth

keep the vials out of the sun at all time

put vaccine carriers in a windy spot

trainers need to insist that health workers use their own creativity to cool the vaccines

Every degree the temperature of the vaccines is brought down will considerably decrease the risk of damage due to heat. When these precautions are respected, the teams can finish immunizing their target population before the vaccine is irreversibly damaged.

## Vials at the end of the campaign or session

If OPV vials are opened, but with doses left at the end of a session, they can be safely used for subsequent sessions, as long as the VVM is good and the vial is not obviously contaminated. To prevent contamination opened vials should not be submerged under water.

Vials of which the VVM has started to change colour, without reaching the discard point, should be kept frozen and used in nearby areas during the beginning of the next round, or during the routine programme.

Unopened OPV vials, whose VVM has not reached the discard point, should be brought back and stored properly to be used for the following round, or for the routine EPI.

If there is no ice left for the return trip, the vaccines needs to be kept as cool as possible as described above. The stock manager will decide whether the vaccine can be used for following activities, using the VVM as a management decision tool.

## What to do in case of shortages/surpluses

In case of shortages of equipment there are alternative strategies to think of. The VVM allows more flexibility.

### Shortage of storage capacity for OPV at  –20°C

Store OPV in cold boxes before the NIDs, while regularly renewing the icepacks.

Store vaccine in refrigerators instead of freezers shortly before the NIDS, provided the VVM has not yet started changing colour

### Shortage of vaccine carriers:

Any other type of non-metallic container can be used to transport the vaccines.

Vaccine carriers from neighbouring counties/districts can be borrowed.

Use the vaccine carrier as distribution point, from where a few teams can undertake trips to small remote villages for a few hours. Any type of non metallic container can be used.

### Shortage of cold boxes

Use a cold box for more teams: calculate or take a cold box to find out how many icepacks and vaccines it can contain.

Send the teams only vaccine carriers and no cold box, even to the remote areas. Re-supply with ice if necessary.

### Shortage of icepacks:

Use the icepacks of the cold box for the vaccine carriers. If you use this option, make sure the icepacks of the cold box fit in the vaccine carrier.

Put fewer icepacks in a carrier.

Use plastic bags to freeze water, but prevent OPV to be floating in water.

### Shortage of freezing capacity

Store OPV in refrigerators instead of freezers to liberate capacity.

Start freezing in advance and store frozen icepacks in cold boxes.

Ask neighbouring counties/districts to freeze icepacks for you.

Use domestic freezers to freeze icepacks.

Ask the private sector (restaurants, fish and ice factories) to make freezing capacity available.

Apply all possibilities given under ‘Shortage of icepacks’.

### Shortage/surplus of vaccine

Remote areas can usually not, or only with great difficulty, be re-supplied with vaccine during the NIDs. In addition, their population size is often only known with a large margin of uncertainty. To prevent a shortage and interruption of the campaign, it is crucial the teams in these areas receive additional vaccine from the start.

For all areas it is equally crucial that the handling of surplus vaccine be dealt with in the initial planning.

Vaccine quantities distributed during the second round must be based on the evaluation of the first round.

# VVM Fact sheet

# For a cheaper and more flexible cold chain during NIDs

Oral Polio Vaccine is the most heat sensitive of all EPI vaccines. However, cumulative heat exposure of OPV can now be monitored with the help of the Vaccine Vial Monitor (VVM), which indicates if a vial can still be used.

OPV, supplied by WHO qualified manufacturers, retains satisfactory potency for 48 hours at 37°C continuous ambient temperature.  The VVM reaches the point where OPV should be discarded (the discard point) before that.

At 25°C ambient temperature the VVM reaches the discard point after 7 days.

# The VVM

Therefore, the VVM allows concluding at any time if OPV can be used in spite of possible cold chain interruptions. Health staff and management can act accordingly with corrective measures if required.

Besides these corrective actions, the VVM can be used pro-actively to plan a more flexible and cheaper cold chain, which is of particular importance during NIDs.

OPV CAN BE SAFELY USED BEYOND THE COLD CHAIN UNTIL THE VVM REACHES THE DISCARD POINT. The length of time depends on the ambient temperature and the quality of the cold chain till that point.

The advantages of the use of VVMs during NIDs are:

teams can go further in time as well as geographically, due to less bulky equipment and decreased dependence on re-supply of ice. Difficult access and weak cold chain cease to be reasons not to IMMUNIZE POPULATION GROUPS USUALLY MISSED DURING NIDS AND THE ROUTINE SERVICES

decreased burden of the cold chain: less freezing, smaller quantities of equipment

decreased cold chain costs due to these factors

The VVM must be pro-actively integrated in the NID planning:

teams returning daily to vaccine distribution points do not need frozen icepacks (some managers may decide to give 1 icepack per day merely for the ease of mind of the teams)

teams staying away longer do not have to be supplied with ice for the full length of their absence

all teams must be clearly instructed that THE ABSENCE OF ICE IS NOT A REASON TO INTERRUPT IMMUNIZATION

Experience in numerous countries has now convincingly confirmed the advantages of the VVM.

# The potential benefits of the VVM during the NIDs highly depend on the quality of the cold chain before that.

# PROPER STORAGE AND TRANSPORT OF OPV IS VITAL AT ALL LEVELS.

To gain confidence, EPI managers are encouraged to test VVMs in their own region.

To convince health workers of the merits, vials with VVMs must be brought to NIDs training workshops.

# Footnotes

( Vaccine vial monitor – Training guidelines. WHO/EPI/LHIS/96.04 (update planned for 2000).

Vaccine vial monitor and open vial policy. WHO/EPI/LHIS/96.01 (update on Multi dose vial policy in process).

Equipment performance specifications and test procedures. E6: Temperature monitoring devices. WHO/EPI/LHIS/97.09

( Since vitamin A does not require to be kept cool, its addition to polio NIDs is irrelevant for the cold chain strategy.

( The cold life of cold boxes and vaccine carriers is the time it takes between the moment frozen icepacks are put in the box/carrier until the moment any of the vaccines reaches +10°C. The cold life of all boxes/carriers is given in the Product Information Sheets (see the English edition WHO/EPI/LHIS/97.01 and the Supplement WHO/EPI/LHIS/98.03)